# Statement of Special Inspections

# Requirements for Seismic Resistance

# See the Schedule of Special Inspections for inspection and testing requirements.

# Seismic Design Category:

# Statement of Special Inspection for Seismic Resistance Required (Yes/No):

Description of seismic force-resisting system subject to special inspection and testing for seismic resistance:

(Required for Seismic Design Categories B, C, D, E or F in accordance with Building Code Section 1705.13.1 through 1705.13.3, and 1705.14.1). Some systems not required in SDC B, see section 1705.13.

Description of designated seismic systems subject to special inspection, testing and qualification for seismic resistance:

(Required for architectural, electrical and mechanical systems and their components that require design in accordance with ASCE 7-16 Chapter 13, have a component importance factor, Ip, greater than one and are in Seismic Design Categories C, D, E or F, in accordance with Building Code Section 1705.13.4 and 1705.14.3.)

Description of additional components and systems requiring special inspections,  testing and qualification for seismic resistance:

(Required for systems noted in Building Code Sections 1705.13.5 through 1705.13.9 and 1705.14.2 1705.11).

# Statement of Responsibility:

Each contractor responsible for the construction or fabrication of a system or component described above must each submit a Statement of Responsibility (pg C1) in accordance with Building Code Section 1704.4.