# Statement of Special Inspections

Requirements for Tornado Resistance

See the Schedule of Special Inspections for inspection and testing requirements

Design Wind Speed: 		m.p.h.

(The tornado design wind speed is 250 miles per hour for the entire state of Arkansas per FEMA P-361 and ICC 500.)

Wind Exposure Category:

(Wind Exposure Category C should be used to calculate wind pressures acting on community safe rooms and tornado shelters designed and constructed in accordance with FEMA P-361 and ICC 500.)

Statement of Special Inspection for Tornado Resistance Required (Yes/No):

(Required for community safe rooms and tornado shelters designed and constructed in accordance with FEMA P-361.)

Description of main wind force-resisting system subject to special inspection for wind resistance:

(Required for systems noted in Building Code Section 1705.12.1 and 1705.12.2)

Description of wind force-resisting components subject to special inspection for wind resistance:

(Required for systems noted in Building Code Section 1705.12.3)

Statement of Responsibility:

Each contractor responsible for the construction or fabrication of a system or component described above must each submit a Statement of Responsibility (pg C1) in accordance with Building Code Section 1704.4.